Freedom of Information Act 2000

You asked:

I require some information on the type of cladding used on a large number of council owned dwellings (houses) that were cladded a few years ago to enhance insulation to solid brick built houses on Saffron Lane Estate.

1) Is it combustible?

Answer:

- Residential Low Rise External Walls Insulations Systems (EWI) consists of:

a)	Rigid insulation boards (Phenolic or Enhanced EPS) mechanically fixed directly to the substrate walls.

b)	Cement based basecoat 1

c)	Reinforcing Mesh

d)	Cement based basecoats 2

e)	Dash render finishes.

- EWI systems are tested by the manufacturer’s for fire resistance and comply with current regulatory standards.

- EWI Systems conform to Part B (Fire Safety) of the Building Regulations.

- The external surfaces of the system are classified as Class 0 or ‘low risk’ as defined in the national Building Regulations to burning and spread of flame.

2) Has it been tested for safety against fire?

As above:

- EWI systems are tested by the manufacturer’s for fire resistance and comply with current regulatory standards.

- EWI Systems conform to Part B (Fire Safety) of the Building Regulations.

3) Is it the same type as used in the Grenfell tower block?

- No. Residential Low Rise External Wall Insulation Systems (EWI) differ significantly from the Rain Screen cladding installed on the Grenfell Tower Block

You may re-use the information under an Open Government Licence.

If you are dissatisfied with the handling of your request please write to:

Information Governance & Risk Team

Leicester City Council

Legal Services

4th Floor, City Hall 
115 Charles Street

Leicester LE1 1FZ

e-mail: info.requests@leicester.gov.uk