Freedom of Information Act 2000/Environmental Information Regulations 2004

Re: air quality standards

Your request for information has now been considered and the Council’s response to your questions is shown below.

You asked:

What air quality standards are required in buildings which are used by Leicester City Council employees and have these been updated to safeguard them during the COVID pandemic?

Answer:

There are currently no regulations on the quality of indoor air in the UK.

The Health, Safety and Welfare Regulations 1992 cover a basic requirement for sufficient ventilation.

The Council is currently applying the Chartered Institution of Building Services Engineers (CIBSE) Guidance.

Specifically have the Changes of Air per Hour in air-conditioning been increased?

Air conditioning is not currently used (apart from one building).

Ventilation air-changes have been increased where mechanical systems are used.

Are you using HEPA filters to filter out virus particles?

No

And are you using C02 monitors to get an indication of air quality?

Yes, in some buildings

And, if so, what's your acceptable level?

1000 ppm

You may re-use the information under an Open Government Licence.

If you are dissatisfied with the handling of your request, please write, explaining your grounds of appeal, to:

Internal Review

Information Governance & Risk

Email: info.requests@leicester.gov.uk