## Sheet1
Contain
PROPERTY | Chrysotile | Amosite | Crocidolite | System built | System built type | Last survey date | Air Tests/Air monitoring
ABBEY PRIMARY COMMUNITY SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2015,following gasket rope removal
ALDERMAN RICHARD HALLAM PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2015,boiler room clean/encapulation,2013 Decontamination of boiler room,2012 Reassurance during califiar works.
ASH FIELD SPECIAL SCHOOL | Y | Y | Y | Y | SCOLA | Lucion 2019 | 2014, Reassurance following damaged panel
AVENUE PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2015 Environmental clean of boiler room,
BABINGTON COMMUNITY TECHNOLOGY COLLEGE | Y | Y |  |  |  | Lucion 2015 | No record
BRAUNSTONE FRITH PRIMARY | Y | Y | Y | Y | CLASP | BDA 2018 | No record
BRIDGE JUNIOR SCHOOL | Y | Y |  |  |  | Lucion 2019 | 2019 Reassurance during removal of incinerator,2017 Reassurance during removal of boards from behind heaters,2015 Reassurance during ceiling removal,2014 Reassurance following issue with board.
BUSWELLS LODGE PRIMARY SCHOOL | Y | Y |  | Y | CLASP | Lucion 2018 | 2018-2014 Annual CLASP air monitoring, 2018 Reassurance during encapsulation works,2017 reassurance air test within room 27, 2016 removal of board from heaters in hall,2015 Air testing during removal of AIB ceiling boards,2014 Air testing remedials to ceiling tiles
CALDECOTE COMMUNITY PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2019 Air test during environment clean in boiler room,2014 Air test during roof void clearance
CARISBROOKE SPECIALIST LEARNING CENTRE | Y | Y | Y |  |  | Lucion 2019 | 2019 Air test during removal works for roof works,2017 Air test during removal of insulating board ceiling tiles.
CATHERINE INFANT SCHOOL | Y | Y |  | Y | CLASP | Lucion 2018 | 2019 Air testing during encapsulation works,2019 reassurance test during environment clean,2018 - 2014 Annual CLASP air monitouring,2018 Air testing during works to remove board from ducts,2017 Air test during removal of AIB within ceiling void,2017 air test within room 17,2016 air testing during removal of panels within kitchen & Hall,2016 Air test during removal works in electric cupboard.
CATHERINE JUNIOR SCHOOL | Y |  |  |  |  | Lucion 2019 | 2013, air monitoring during full asbestos strip following fie at the school,2012 air monitoring to head teachers room
COLEMAN PRIMARY SCHOOL | Y | Y |  |  |  | Lucion 2018 | 2019 air testing during gasket removal in boiler room,2018 air testing environmental clean of boiler room clean,2018 reassurance air test following debris found in boiler room,2014 air test following clean of suspected asbestos within door,2014 air monitoring following gasket removal,
DOVELANDS PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2019 air monitoring during brickwork removal to flue by asbestos removal company, 2016 air testing during removal of board from walls,2015 air test following environmental clean to boiler room floor,2012 reassurance air test outside boiler room.
ELLESMERE COLLEGE | Y | Y | Y | Y | CLASP | Lucion 2011 | 2012,Air test carried out, during sampling to flooded duct
FOLVILLE JUNIOR SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2014, Air testing during removal of cement flue in kitchen.
FOREST LODGE PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2012 | 2013, Air testing during environmental clean of boiler room floor and ceiling encapulation,2012 Air test to boiler room.
FOSSE PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2019 | 2013 Air testing during removal of floor tiles.
GLEBLANDS PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2019 | No record
GRANBY PRIMARY SCHOOL | Y | Y |  |  |  | BDA 2018 | 2019 Air testing during removal of debris to walls in boiler room and stairwell, 2018 Reassurance air test during encapsulation to court yard,2017 Air testing during removal of rope seal to flue,2015 Air test during removal of debris from drainage trench.
GREENLANE INFANT SCHOOL | Y | Y |  |  |  | Lucion 2019 | 2019 air test following possible disturbance during management survey.
HAMILTON COMMUNITY COLLEGE | Y | Y | Y |  |  | Lucion 2016 | 2016 air testing during environmental clean within boiler room, 2016 reassurance air test following the discovery of asbestos debris on boiler room.
HAZEL PRIMARY SCHOOL | Y | Y |  |  |  | Lucion 2019 | 2019 Air testing during boiler room environmental clean, 2019 Air test following discovery of debris in boiler room.
HEATHERBROOK PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2018 | 2019 air testing during of debris in plant room, 2014 Air testing during removal of asbestos containing gaskets.
HERRICK PRIMARY SCHOOL | Y | Y |  | Y | CLASP | Lucion 2018 | 2018-2014 Annual CLASP air monitouring,2018 Air testing following encapsulation works to columns, 2017 reassurance air test to 23 rooms following inspection works,2015 Air monitoring during window removal works,2014 air testing during removal of column cladding
HUMBERSTONE INFANT SCHOOL | Y | Y | Y |  |  | AOH 2010 | No record
HUMBERSTONE JUNIOR SCHOOL | Y | Y | Y |  |  | AOH 2010 | No record
IMPERIAL AVENUE INFANT SCHOOL | Y | Y | Y |  |  | BDA 2018 | 2019, Air testing and monitoring during environmental clean of the boiler room,2017 air testing during removal of damaged asbestos panel and environmental clean.
INGLEHURST INFANT SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2017 Air testing during investigation to floor duct,2017 air test during works to carry out pipe repairs,2017 air testing during access to floor duct.
INGLEHURST JUNIOR SCHOOL | Y | Y |  |  |  | Lucion 2018 | No record
KING RICHARD III INFANT SCHOOL | Y | Y |  | Y | CLASP | Lucion 2019 | 2018-2014 Annual CLASP air monitoring, 2013 air testing during remedials to ACM ceiling, 2013 Reassurance following damage to ceiling in kitchen,2013 Air test during investigation to the heater panels.
KNIGHTON FIELDS PRIMARY | Y | Y | Y |  |  | AOH 2009 | No record
LINDEN PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2018 air testing during environmental clean of boiler room,2017 air test during localised clean of boiler room,2016 air monitoring during repair works in boiler room,2013 air test during localised clean in boiler room, 2012 air monitoring during encapsulation works of rope to boilers.
MARRIOTT PRIMARY SCHOOL | Y | Y | Y |  |  | BDA 2018 | 2019 Air monitoring during environmental clean of the boiler and electric room,2018 air testing following disturbance in boiler room and electric room following management survey.
MAYFLOWER PRIMARY SCHOOL | Y | Y |  |  |  | Lucion 2018 | No record
MEDWAY COMMUNITY PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2017 Reassurance air test following removal of brickwork covered with debris,2014 air testing and monitoring during scraping and encapsulation of boiler room walls.2013 Air testing following discovery of flacking paint in boiler room.
MERRYDALE INFANT SCHOOL | Y | Y |  | Y | HORSA | Lucion 2018 | 2014 air reassurance following the drilling of hole in textured coated ceilng,2014 reassurance air test following battens being fitted to textured coating, 2014 air test during removal of light fittings from texture coatings.
MERRYDALE JUNIOR SCHOOL | Y |  | Y |  |  | BDA 2017 | No record
MILLGATE SCHOOL | Y | Y | Y |  |  | Lucion 2016 | 2019 Reassurance air test following identification of asbestos in roof void,2017 air testing and monitoring during removal of insulation debris to boiler room,2016 air monitoring during localised clean and sealing of ducts,2015 air monitoring during investigation of boiler room duct.
MOAT COMMUNITY COLLEGE | Y | Y |  |  |  | Lucion 2016 | 2019 air testing during the removal of MMMF insulation,2013 air monitoring during the decontamination of the boiler room.
MOWMACRE HILL PRIMARY SCHOOL | Y | Y | Y | Y | HILLS | BDA 2016 | No record
NETHERHALL SPECIAL SCHOOL | Y | Y | Y |  |  | Lucion 2016 (empty premises) | 2017 air monitoring during encapsulation works to sports hall ceiling,2016 air monitoring following the removal of lose floor tiles,2014 air monitoring during repair to textured coating to classroom ceiling,2012 air monitoring in boiler house during pump change due to asbestos gaskets.
NEW COLLEGE LEICESTER | Y | Y | Y |  |  | Lucion 2016 | 2019 air monitoring during window removals,2017 air monitoring during window removal,2016 air testing during excavation of rubble to north field,2016 air monitoring during the removal of panels above heater,2016 air testing to old boiler room and plant room,2016 reassurance air test of suspect ACM to boiler plinth,2015 Air monitoring during environmental clean of debris within cupboard,2015 air monitoring during removal of contaminated calorifier,2014 air monitoring of decontamination of boiler room under croft,2014 reassurance air test of contaminated undercrofts,2013 reassurance monitoring following removal of biscuit board.
NEWRY JUNIOR SCHOOL | Y | Y | Y |  |  | AOH 2010 (empty premises) | 2019 air test following R&D survey,2012 reassurance monitoring following environmental clean of fuel store.
NORTHFIELD HOUSE PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2012 | No record
OVERDALE INFANT SCHOOL | Y |  |  |  |  | AOH 2011 | No record
OVERDALE JUNIOR SCHOOL | Y | Y | Y |  |  | AOH 2011 | 2018 air monitoring during removal of windows and doors July,May,March & Feb, 2017 air monitoring during removal of windows and doors,2016 air test following removal of rope seal to kitchen skylights,2016 background and air monitoring during removal of cement shuttering within external duct,2016 air reassurance following environmental clean of duct to kitchen following damage, 2016 air testing during breaking open of ducts,2013 reassurance monitoring within boiler room.
PARKS PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2015 air monitoring during removal of asbestos insulating board ceiling tiles to kitchen and boiler cupboard,2014 reassurance air test following taping of joints to kitchen ceiling,2014 reassurance monitoring to kitchen ceiling following bulk sampling.
ROLLESTON PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2019 air testing following encapsulation of skylights and environmental clean of boiler room floor.
ROWLATTS HILL PRIMARY SCHOOL | Y |  |  |  |  | AOH 2009 | 2019 air test within hall following R&D survey to floor duct,2016 air test following disturbance of texture coating,2015 reassurance following removal of textured coated ceiling within intervention room,2014 reassurance monitoring following the removal of ducting to kitchen,2014 monitoring during removal of textured coated ceilings to main entrance,2014 reassurance air test following repairs to water damaged ceiling.
RUSHEY MEAD PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2018 air test following encapsulation of AIB panels to underside of shelf in hall,2018 air monitoring during investigation into under croft,2017 Air test following the removal of shelves,2016 air tests following removal of debris from chair store,2014 air monitoring following the removal of asbestos boards to the stage,2014 air testing following the removal of vinyl tiles,2014 air monitoring during environmental clean of boiler room,2014 reassurance air test following damage to suspect ACM panel,2014 air test to basement boiler room following bulk sampling,2014 personal air monitoring during leak investigation to undercrofts,2013 personal air monitoring during inspection of undercroft,2012 air monitoring during remedial works to boiler room.
SANDFIELD CLOSE PRIMARY SCHOOL | Y | Y |  | Y | SCOLA | Lucion 2019 | 2018-2014 Annual CLASP air monitoring.
SCRAPTOFT VALLEY PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2019 | 2019 reassurance air test following broken floor tiles,2013 reassurance monitoring during removal of shuttering to duct.
SHAFTESBURY JUNIOR SCHOOL & PLAYING FIELD | Y | Y |  |  |  | Lucion 2019 | 2014 air monitoring during works to kiln room, 2014 reassurance air test of roof space.
SHENTON PRIMARY SCHOOL | Y | Y |  | Y | CLASP | Lucion 2019 | 2018-2014 annual CLASP air monitoring,2017 reassurance air test following encapsulation works.
SIR JONATHAN NORTH COMMUNITY COLLEGE | Y | Y | Y |  |  | Lucion 2016 | 2018 air monitoring following access into undercroft during investigation of leak,2016 environmental clean to walls and pipework within void below stage in hall,2016 reassurance air test following access to under crofts,2015 air monitoring during access into under croft,2013 air monitoring for asbestos removal works to changing rooms.
SOUTHFIELD INFANTS SCHOOL (FORMER) | Y |  |  |  |  | AOH 2008 (empty premises) | 2019 Air test following fire damaged to classroom.
SLATER PRIMARY SCHOOL |  | Y | Y |  |  | Lucion 2019 | 2015 reassurance air test following fire on neighbouring industrial unit.
SPARKENHOE PRIMARY ANNEXE | Y | Y |  |  |  | Lucion 2019 | No record
SPARKENHOE PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2019 | No record
SPINNEY HILL PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2019 | 2019 air monitoring following collapsed ceiling from water leak,2018 reassurance air test following removal of sink pads & encapsulation of cement panel in chimney within boiler, 2016 reassurance air test following fixing of battens to walls in tunnel system & drilling holes in boiler room, 2016 reassurance air test within boiler room,2015 reassurance air test following removal of floor tiles within plant room.
ST BARNABAS C OF E PRIMARY SCHOOL | Y | Y |  |  |  | Lucion 2019 | No record
ST MARYS FIELDS INFANT SCHOOL | Y | Y | Y |  |  | Lucion 2019 | No record
STOKES WOOD PRIMARY SCHOOL | Y | Y |  | Y | CLASP | Lucion 2018 | 2018-2014 Annual CLASP air monitoring,2019 Air test and visual check following roof leak, 2019 clearance air testing for removal of window frames,2018 clearance air testing for removal of window frames July and March,2018 reassurance air test following over boarding of AIB clad column,2017 air monitoring during the removal of asbestos insulation board window panels,2017 air monitoring during the removal of asbestos debris to IT room and main hall,2017 air monitoring during AIB removal within ceiling void to PE store,2016 air monitoring during encapsulation works within ceiling void,2016 air monitoring to hall 2 following investigation works and asbestos removal of soffits within halls,2014 air test following removal of asbestos insulation board packers,2014 air monitoring during removal of damage AIB ceiling tiles.
THE LANCASTER SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2016 Air test following clear water within boiler & sump,2016 Air test during removal of debris works in boiler room,2014 air monitoring following works to reception ceiling,2013 reassurance air test to main plant room following identification of asbestos product,2013 air test following re-encapsulation of fume cupboard.
THURNBY LODGE PRIMARY SCHOOL & SPCH/LANG UN | Y | Y | Y |  |  | AOH 2010 | 2015 Air test following removal of asbestos cement shuttering within void,2015 reassurance air test within main hall following investigation of leak.
UPLANDS INFANT SCHOOL | Y |  | Y | Y | CLASP | Lucion 2019 | 2018-2014 Annual CLASP air monitouring,2018 air test following the removal of window frames,2017 air test following windows and column cladding removal,2015 Air test and standing brief for window removal,2015 Reassurance air test during roof works,2015 Reassurance air test during door frame replacement.
WESTERN PARK SPECIAL SCHOOL | Y | Y |  |  |  | AOH 2009 (empty premises) | 2015 air testing during removal of asbestos board to medical room and stairwell following a fire,2015 reassurance air test following fire damage to kitchen area.
WHITEHALL PRIMARY SCHOOL | Y | Y |  |  |  | Lucion 2019 | 2019 air test following encapsulation works to boiler room,2019 Reassurance air test following the discovery of asbestos debris,2015 reassurance air test to floor duct.
WILLOW BANK SCHOOL | Y |  |  |  |  | AOH 2011 | No record
WILLOWBROOK PRIMARY SCHOOL | Y | Y |  |  |  | AOH 2010 (Academy school) | 2015 air monitoring during the removal asbestos ceiling in the electrical switch room & kitchen stores,2014 air monitoring following the removal of calorifier within the kitchen.
WOLSEY HOUSE PRIMARY SCHOOL | Y |  |  |  |  | Lucion 2019 | 2019 air monitoring during encapsulation of external soffits,2019 air test following removal of floor tiles,2017 air test following the removal of floor tiles.
WOODSTOCK PRIMARY SCHOOL | Y | Y | Y |  |  | Lucion 2018 | 2019 air monitoring during asbestos insulation debris to walls within the boiler.
Vacant property
This information has been taken from our current live system as of 02/09/2019