## Solar PV
0.034885
Solar PV Installations on Council Buildings | [9 empty] | Electricity Generation by years
Site | System Size (kWp) |  |  | Annual Generation (kWh) |  | Annual Cost Savings | Annual CO2 Savings (kg) | Installation Date |  | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | Total
Leicester Leys Leisure Centre | 29.44 | kWp | 460 Panels | 23000 | kWh/y | 2760 | 0.80236 | 2004
City Hall | 23.4 | kWp |  | 20978 | kWh/y | 2517.36 | 731.8175 | 2014-09-01 |  |  | 18123 | 16622 | 7237 | 6290 | 4570 | 52842 | Issue with monitoring equipment
New Data Centre - City Learning Centre | 41.28 | kWp | 171 Phono 240 Wp panels (2 Systems) | 35007 | kWh/y | 4200.84 | 1221.2192 | 2014-06-01
The Brite Centre | 67.34 | kWp | 175 IBC 260W ZX POLY Panels | 57239 | kWh/y | 4006.73 | 1996.7825 | 2015-08-01 | Community Energy (PPA) | 15650.0584 | 53482.0726 | 46386.6317 | 55969.7241 | 58471.631 | 43947.456 | 273907.5738
Hamilton Libraray | 20.28 | kWp | 78 Panels | 17238 | kWh/y | 1206.66 | 601.3476 | 2015-08-01 | Community Energy (PPA) | 5172.0768 | 17049.6871 | 15949.4991 | 16828.531 | 16617.479 | 12764.458 | 84381.731
Dock | 31.5 | kWp | 120 Q Cell POLY Panels | 26775 | kWh/y | 1874.25 | 934.0459 | 2015-08-01 | Community Energy (PPA) | 4207.639 | 28284.3425 | 27500.143 | 30320.2187 | 28819.938 | 22432.529 | 141564.8102
Evington Leisure Centre | 36 | kWp | 145 Panels | 32183 | kWh/y | 2252.81 | 1122.704 | 2015-08-01 | Community Energy (PPA) | 6579.7233 | 33749.5793 | 31979.7803 | 31217.0365 | 28735.62 | 24294.141 | 156555.8804
Braunstone Leisure Centre | 148 | kWp |  | 118400 | kWh/y | 25208 | 4130.384 | 2016-01-01 |  |  | 113105.334 | 106625.354 | 112581.065 | 109240.521 | 87985.589 | 529537.863
Leicester Business Centre, Ross Walk | 25 | kWp |  | 21250 | kWh/y | 4550 | 741.3062 | 2016-01-01 |  |  | 23670.62 | 22782.872 | 25132.754 | 24125.962 | 19423.779 | 115135.987
Haymarket Bus Station | 26.16 | kWp |  | 20587 | kWh/y | 2470.44 | 718.1775 | 2016-02-01
Euston Street Stores | 185 | kWp |  | 148000 | kWh/y | 19151 | 5162.98 | 2019-08-01 |  | Electricity Generation by years 2019: 27485.752; Electricity Generation by years 2020: 131021.382 | 158507.134
| 448.4 | kWp |  | 372657 | kWh/y | 70198.09 | 17361.5668 |  |  | 31609.4975 | 287464.6355 | 267846.2801 | 279286.3293 | 299786.903 | 346439.334 | 1512432.9794 | All Solar PV Installations on Council buildings which are monitored
[10 empty] | 0 | 154898.954 | 146030.226 | 144950.819 | 167142.235 | 243000.75 | 856022.984 | All Solar PV Installations on Owned by which are monitored
Planned Solar PV Installation on Council Buildings
| 0 | kWp |  | 0 | kWh/y | 0 | 0