## Sheet1
Please use the following table to answer the FOI request from BBC News about RAAC.
Cells in italics are examples of how the data is requested to be recorded
Please use a new line for each survey and/or each building where RAAC is
Local authority name | Surveys commissioned Yes/No | Actions taking place or reason why not | Date commissioned | Date expected or completed | Number of buildings surveyed | Building types | RAAC found or suspected | Location | Action | Explanatory notes
Leicester City Council | Yes | We are surveying all our Schools that are built between 1950 & 1990 to determine if RAAC is present | 2022-05-01 | 2023-07-01 | 38 | Schools | Found | Mayflower Primary School, LE5 5PH & Parks Primary School, LE3 9NZ | Areas of schools closed that contain RAAC with support structures in place. | Remedial actions for remedy now with the Deparment for Education.
Leicester City Council | Yes | We are surveying all our buildings that are built between 1950 & 1990 to determine if RAAC is present | 2022-06-01 | Expected to complete November 23 |  | Sports Hall | Found | St Matthews Center, LE1 2PD | Sports Hall closed pending further investigation | Completion date is due to gaining access to leased out properties. Where RAAC has been found at St Matthews, remidal actions are being planned at present.