FREEDOM OF INFORMATION ACT 2000/ENVIRONMENTAL INFORMATION REGULATIONS 2004 
Your request for information has now been considered and the Council’s response to your questions is shown below.

You asked:
1. Number and names of maintained primary schools in Leicester City that have had Air Source Heat Pumps installed by LCC.
	
	Site
	Status

	1
	Montrose Primary School
	Not fully connected

	2
	Rolleston Primary School
	Not fully connected

	3
	Imperial Avenue Primary School
	Not fully connected

	4
	Folville Junior School
	Not fully connected

	5
	Whitehall Primary School
	Not fully connected

	6
	Caldecote Community Primary School
	Not fully connected

	7
	Marriott Primary School
	Not fully connected

	8
	Oaklands School
	Not fully connected

	9
	Shaftesbury Junior School
	Connected, tested & commissioned

	10
	Beumont Lodge Primary School
	Connected, tested & commissioned

	11
	Herrick Primary School
	Connected, tested & commissioned

	12
	Slater Primary School
	Connected, tested & commissioned

	13
	Stokes Wood Primary School
	Connected, tested & commissioned

	14
	Merrydale Infant School
	Connected, tested & commissioned

	15
	Willow Bank School
	Connected, tested & commissioned

	16
	Glebelands Primary School
	Connected, tested & commissioned

	17
	Wyvern Primary School+B3:B10
	Connected, tested & commissioned


2. How many of these Air Source Heat Pumps are connected and actually working.
As above, nine.

All Air Source Heat Pumps (ASHP’s) installed have been tested and commissioned to work. A study is being undertaken around the remaining ASHP’s to determine the optimum capacity required before remaining works are finalised and the bill payer triggers their operation. 

3. What additional works were needed to ensure the Air source heat pumps worked and at what cost
All ASHP’s that have been installed, tested and commissioned work. Remaining ASHP work to be undertaken varies across the remaining schools listed above. All costs associated with this work are within the Salix programme budget of Circa £26m and schools capital maintenance ringfenced decarbonisation works programme of £1.2m. Some sites require power upgrades and the associated builders work in connection with this. Some require additional sub-stations that the Distribution Network Operator undertakes.  

You may re-use the information under an Open Government Licence.
If you are dissatisfied with the handling of your request, please write, explaining your grounds of appeal, to: 

Internal Review

Information Governance & Risk
Email: info.requests@leicester.gov.uk
